## Slide 1: Classroom & Laboratory Safety

## Slide 2: Classroom & Laboratory Safety
This presentation will…
Review general safety rules for the classroom and laboratory.
Review safety rules specific to possible electrical injures.

## Slide 3: General Safety Rules
Follow all written procedures.
Read manuals, material safety data sheets, or other documents that discuss specific safety precautions related to the equipment you are working with.
Do not disable safety lockouts, grounding prongs, or other devices designed to prevent injury.

## Slide 4: General Safety Rules
Avoid damp and wet areas when working with electricity.
Avoid wearing jewelry or baggy clothing.
Assume circuits are on and check with voltmeter before handling wires.
Broken or damaged tools should be labeled with DAMAGED DO NOT USE. The instructor should be notified so that the tool may be repaired or replaced.

## Slide 5: General Safety Rules
Have a trusted helper control the power so that passersby do not turn the power back on.
Use only the appropriate class of fire extinguisher to put out electrical fires.
    Class C fire extinguishers are preferred
    Class B or D are acceptable and will work
    Class A - Water can make electrical fires worse.

## Slide 6: General Safety Rules
Use chemicals as directed on the container.
Do not use any tools or equipment until instructed on their proper use.
Use safety glasses (or goggles) whenever around chemicals that may splash or objects that can be thrown.

## Slide 7: General Safety Rules
Take your time. Most accidents occur when people rush their work.
Keep the laboratory clean and neat. Clutter and broken or dirty tools can create a safety hazard.

## Slide 8: Electrical Injuries - Electrocution
Current Kills!
  The current level is determined by the applied voltage and the resistance of the material (i.e., your body) that the current is flowing through. Depending on the individual, the resistance of dry skin is usually between 1,000 -100,000 .
 | Required Voltage |  | 
Current | 1,000  | 100,000  | Comments
1 mA | 1 volt | 100 volts | Threshold of feeling, tingling sensation.
15 mA | 5 volts | 500 volts | Maximum current level a human can withstand before sustaining injury.
15-20 mA | 10 volts | 1000 volts | Beginning of sustained muscular contraction ("Can't let go" current.)
100-300 mA | 100 volts | 10,000 volts | Ventricular fibrillation, fatal if continued. Respiratory function continues.
6 A | 6000 volts | 600,000 volts | Sustained ventricular contraction followed by normal heart rhythm. (defibrillation). Temporary respiratory paralysis and burns.
Burns, Permanent Damage, or Death
Extreme Pain

## Slide 9: Electrical Injuries – Burns
Electrical resistance produces heat. The more current, the more severe the burn.
Shorted components will burn you upon contact.
Soldering irons (introduced later) will burn your skin instantly on contact.

## Slide 10: Electrical Injuries – Chemicals
Smoke from burning or melting components
Battery chemicals
Older, lead-based solder
Printed circuit board etching materials

## Slide 11: Electrical Injuries – Wounds
Small wires can easily puncture the skin.
Pulling out Integrated Circuits (ICs) incorrectly can cut or puncture the skin.
When cutting wire, small pieces of wire can fly off and hit someone’s eye.

## Slide 12: Summary
The purpose of the presentation was to review some of the potential risks associated with working with electricity in a classroom/laboratory environment.
The likelihood of any of these injuries happening is remote, but it is your responsibility to follow the rules.
    If you observe a classmate not following the rules, remind them.
    If you observe a classmate purposely not following the rules, report them.
Now, let’s have some fun with electronics !